Strut-Lock™ Secondary Containment

Technical Information

Flat Panel

Panel Thickness: 3”

Panel Height 12” coverage

Panel Length: 8’

Skin Thickness: Standard 40ga

Skin Materials: Galvanized (G90)

Galvalume (Aluminum)

Painted Top Flashing: International Orange

Core Material: Pressure Injected High Temperature Polyurethane.

This product surpasses thermal Testing in with CAN/ULC S705.1-01

HFF Filter Installation

Cross Section and Connections

www.spill-chek.com 1-800-279-4043

Spill-Chek Environmental-Serving Western Canada, the Territories & Alaska

Cross Section and Connections

Cross Section and Connections

Strut-Lock™ is very easy to install with a two man crew.

Spill-Chek Environmental-Serving Western Canada, the Territories & Alaska