## Sheet1
HOME INPROVEMENT AREA | APPROXIMATE COST | LIFE EXPECTANCY
ROOFING/FLASHING/CHIMNEYS
Install conventional asphalt shingles over existing shingles. | $1.50-$2.50/sq. ft. | 12-20 yrs.
Strip & reshingle with conventional asphalt shingles | $2.50-$4.00/sq. ft. | 12-20 yrs.
Strip & re-roof with cedar shingles | $7.00-$10.00/sq. ft. | 15-40 yrs.
Strip & install modified bitumen roof membrane | $8.00-$12.00/sq. ft. | Est. 20 yrs.
Reflash typical skylight or chimney asphalt shingles | $300.00-$500.00
Repaint typical chimney above roof line | $20.00-$40.00 per row (min $250)
Rebuild typical chimney above roof line | $150.00-$400.00/lin. ft. (min $500)
EXTERIOR
Install aluminum gutters and downspouts | $4.00-$5.00/lin. ft.(min.$500) | 20-30-yrs.
Install aluminum soffits and fascia | $8.00-$12.00/lin. ft.
Install vinyl siding | $3.50-$5.00/sq. ft | Indefinite
Install wood siding/composite | $8.00/sq. ft. | Maintenance Dependent
Resurface existing asphalt driveway . | $2.50-$4.00/sq. ft | 10-20 yrs.
Seal asphalt driveway | $50.00 + | 1-3 yrs.
Install concrete driveway | $6.00-$10.00/sq. ft. | 30-40 yrs.
Build detached garage | $12,000.00 and up
Install garage door: single sectional | $600.00-$1000.00
Install garage door: double, sectional | $800.00-$1500.00
Install garage door opener | $300.00-$450.00
Painting: trim & wall surfaces (wood, brick, stucco) | $3000.00 + (exclusive of repairs) | 4-6 yrs
Install lawn sprinkler system | $1800.00 +
STRUCTURE
Repair minor crack in a poured concrete foundation | $200.00-$400.00
Repair rod holes | $20.00 per hole (min $200.00)
Install a drain tile system | $60.00-$80.00/lin. ft.
Build an addition: foundation to roof | $150.00-$300.00/sq. ft.
Build an addition: additional storey | $100.00-$300.00/sq. ft.
ELECTRICAL
Upgrade electrical service to 100 amps | $800.00-$1400.00 | (Including New Panel and Breaker)
Upgrade electrical service to 200 amps | $1500.00-$2200.00
Add 240-volt circuit (dryer, stove, etc.) | $250.00-$400.00
HEATING
Install mid efficiency forced-air furnace | $2000.00-$4000.00 | 20-25 yrs.
Install high efficiency forced-air furnace | $3500.00-$6000.00 | 15-25 yrs.
Annual service by heating contractor | $50.00-$100.00 +
Replace blower and/or motor | $400.00-$600.00 | 10-20 yrs.
Install humidifier | $200.00-$400.00 | 5-10 yrs
Install mid efficiency boiler | $2500.00-$5000.00 | 30-25 yrs.
Install chimney liner for gas appliance | $400.00-$800.00
Remove oil tank from basement | $400.00 & up
Remove abandoned oil tank | $3000.00 & up
Clean ductwork | $300.00 & up
COOLING/HEAT PUMPS
Add central air conditioning to a existing forced-air system | $2500.00 & up | 10-20 yrs.
Install independent air conditioning system | $8000.00-$15,000.00 | 10-20 yrs
INSULATION
Insulate open attic area to modern standards | $0.50-$1.25/sq. ft.
PLUMBING
Replace galvanized piping with copper
1-storey with one bathroom | $1500.00-$2000.00 | NOTE: Figures include some repairs to finishes after disruption.
1-storey with two bathrooms | $2000.00-$2500.00
2-storey with one bathroom | $2500.00-$3500.00
2-storey with two bathrooms | $3000.00-$4000.00
Install water heater (natural gas) | $500.00-$900.00 | 7-10 yrs.
Replace seal on toilet | $150.00-$250.00
Replace bath tub, including ceramic tile | $1500.00 + | 20-30 yrs
Remodel bathroom completely ( 4 pc.) | $6000.00 & up
Replace leaking tile shower stall pan | $1000.00-$1600.00 | Unpredictable
Connect waste plumbing system to municipal sewers | $3000.00 & up
Snake out obstruction in main sewer line below yard | $200.00-$400.00
Replace sump pump | $150.00-$250.00 | 2-7 yrs.
INTERIOR
Sand and refinish hardwood floors | $2.00-$3.00/sq. ft.
Clean carpets | $30.00/room
Install replacement windows | $300.00-$1000.00 per window
Install zero clearance fireplace | $3000.00 + | Unknown
Clean fireplace chimney flue | $75.00-$100.00 ea.
Install closer on manual garage door | $200.00-$300.00
Install storm door | $350.00-$700.00
Replace sliding glass door | $1000.00-$1700.00
Remodel kitchen complete | $10,000.00 & up
Paint( walls, ceilings, doors, trim) of entire house | $2000.00 & up